Implant implementation checklist for startup    v. 2019

(

Administrative

- Fees established, reviewed with all staff, entered in computer

- Informed consent sheets prepared

- Post surgical handouts prepared

Sundries to kit/set up		(note:  * indicates found in typical pre-fab surgical pack)

- Patient safety glasses, bib and clips

- Masks

- *Surgical grade gauze, Q-tips

- *High volume suction tip, green surgical suction tip, saliva ejector, ideally all disposable

- *60 cc irrigation syringe, Monoject 412 works well

- Topical anaesthetic

- Needles short +/- long, disinfected

- Anaesthetic cartridges, disinfected

- Preop scrub for area, either a Dixie cup with Chlorhexidine or iodine or an iodine swab

- Scalpel blade(s)

- Sutures to side

- Optional: dexamethasone 4mg/mL for injection, alcohol wipes, 1cc insulin syringes ideally packaged sterile

- Disinfectant hand soap or scrub soap

Drapes and barriers

- Surgical gloves, for both DDS and RDA, in correct size, must be powderless

- *Sterile plastic cover or aluminum foil for at least one light handle

- Sleeves for tubing, if desired

- *Rear table drape, simplest is a sheet of 50x50” CSR wrap or two smaller sheets

- Cover for implant drill unit, or sterile rest to place handpiece

- *Sterile huck towel or alternately a small drape

- Radiographic sensor covers if digital

- CSR wrap to cover surgical kit, and sterilisation tape to close

- CSR wrap or large sterilisation bag to cover surgical kit

- *Isolation or surgical gowns if desired

- *Pt and/or dentist and/or staff surgical caps if desired

Hand instruments

- Whatever radiographic holder you prefer

- Air-water syringe tip

- Your typical exam kit—mirror, explorer, probe, cotton pliers, articulating paper forceps if desired

- Scissors

- Needle driver

- Scalpel handle with millimetres marked

- Anaesthetic syringe

- Minnesota retractor

- Molt 2/4 curet

- Periosteal elevator, small to medium in size

- Ceramic dish for bone, a dappen dish or old Alvogyl jar will work to start

- Iodine cup for saline, or two if you want to toss used small parts into saline, dollar store has them

- Optional:  one additional instrument to keep clean for handling saved bone, use an old Hollenback or whatever old instrument you have laying around

- Osteotomes—do not buy these to start unless they give them to you are part of a package

- Instrument cassette

- Lots of class 5 monitors and BI monitors

Implant drill unit

- Drill unit, programmed to 850RPM and 30 N-cm and tested, primed when set up

- Motor/cable

- 20:1 surgical handpiece   (NOT 32:1, do not buy these)

- Irrigation tubing for your specific drill unit/handpiece

- Saline bags in fridge—500cc are nice—cost the same as 1L but take up less space

- Pole to hang saline bag

- Keep a sterile high speed bagged and to the side, in case you require it

Implant surg kit and fixtures

- Surgical kit

- Lance drill, the pointy one for establishing entry point

- One extra guide pin (long one for Nobel users, short one for Straumann users)

- Cookie cutters for common implant sizes, bag these separately so you can use them for uncovering healed implants without opening surgical kit

- One Kirschner or Lindemann drill for correcting osteotomy position

- Bone profiling drill and guide, to allow easier seating of flared healing abutments

- Implant inventory—implant company will give you initial inventory based on their experience, but you can exchange implants as necessary

- Implant cover screws and healing abutments—order these as you need them to build up an inventory

- Optional:  gentamycin 3% solution to dunk implants

Bone preserving extraction stuff to consider

- Periotome—straight is essential, other tips are just “nice-to-have”.  Single ended is best so you can tap on it.

- Consider bone preservation elevators, e.g. 60B from AS Titan, or Luxators

- Consider set of four Golden-Misch Physics forceps

- A smaller Miller curet, kept sharp

- Ridge preservation graft material, e.g. LifeNet Oragraft 0.5cc mineralized cortical

- Gentamycin eye drops to mix into bone graft material:  rehydrate bone, remove excess saline, then add three drops for 0.5cc bone

- Collagen to retain graft, e.g. Collatape or ACE RCM or RCPlug or Salvin OraTape/Plug or HeliTape/Plug

- Cross-linked collagen membranes, e.g. Cytoplast RTM or ACE RCM6 or Salvin OraMem